{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["开标一览表","分项报价表","偏离表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"开标一览表","index":0,"n_rows":7,"n_cols":13,"rows_kept":7,"merged":[[0,1,0,11],[1,0,1,12],[4,0,4,4],[5,0,5,5],[6,0,6,5]],"flags":["formulas_cached_only"]}
[null,"开标一览表"]
["项目名称：一炼钢新增5#圆坯连铸机项目 (HG202321)6kV高压开关柜采购       项目编号：HG JS-G2024102"]
["序号","物料描述","规格型号","技术参数","计量\n单位","计划\n数量","建议交货日期","供货地点","备注","含税单价\n(元)","含税合价\n(元)","生产厂家/品牌","备注"]
[1,"6kV高压开关柜","KYN28A-12","800x1500x2300mm(WxDxH)，1600A,40kA","台",2,"2024.12.10","一炼钢炼钢站杨浩铭计划","带配套附件、母排和综保装置及线路保护测控装置；详见技术规格书及图纸"]
["注：1、投标报价含税，税率13%\n2、生产厂家要求全称填写"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]

{"sheet":"分项报价表","index":1,"n_rows":24,"n_cols":12,"rows_kept":24,"merged":[[0,0,0,11],[1,0,1,11],[18,0,18,9],[20,0,20,5],[21,0,21,5],[22,0,22,5],[23,0,23,5]],"flags":["formulas_cached_only"]}
["（二）分项报价表"]
["项目名称：一炼钢新增5#圆坯连铸机项目 (HG202321)6kV高压开关柜采购       项目编号：HG JS-G2024102"]
["序号","物料描述","规格型号","元器件品牌","计量单位","定尺尺寸\n其他要求","计划数量","供货地点","备注","含税单价","含税金额","报价品牌"]
["一","柜体"]
[null,"..."]
["二","柜内元器件"]
[1,"断路器",null,"常熟开关CV1、常州森源、库柏耐吉"]
[2,"电压互感器",null,"大一互"]
[3,"电流互感器",null,"大一互"]
[4,"零序互感器",null,"大一互"]
[5,"无线测温、操控显示","按图纸型号订货"]
[6,"避雷器","按图纸型号订货"]
[7,"多功能表、电度表","按图纸型号订货"]
[8,"备品备件及专用工具"]
[9,"智能综合监测保护装置","按图纸型号订货","国电南自"]
[null,"..."]
[null,"小计"]
["三","..."]
["总价（大写）"]
[]
["注：如免去某些费用，请在报价栏内注明“免费”字样（所有报价均为含税价）"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"偏离表","index":2,"n_rows":18,"n_cols":4,"rows_kept":18,"merged":[[0,0,0,3],[1,0,1,3],[3,0,5,0],[3,3,5,3],[6,0,13,0],[6,3,13,3],[14,0,14,3],[15,0,15,3],[16,0,16,3],[17,0,17,3]],"flags":["formulas_cached_only"]}
["   （三）商务/技术偏离表"]
["项目名称：一炼钢新增5#圆坯连铸机项目 (HG202321)6kV高压开关柜采购       项目编号：HG JS-G2024102"]
["偏离类型","序号","招标方要求内容","投标方偏离内容"]
["商务偏离"]
[]
[]
["技术偏离"]
{"$rows_empty":7}
["注：1、如商务无偏离则在偏离内容单元格中填写”无”。如有偏离按序号和招标方要求内容有序对应填写，后将本单位偏离内容按序号顺序填写在一个单元格中。\n    2、如技术无偏离则在偏离内容单元格中填写”无”。如有偏离按序号和招标内容（规格描述、技术要求及标准、交货期等内容）有序对应填写，后将本单位偏离内容按序号顺序填写在一个单元格中。\n"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]