{"text_format":"3","workbook":"xls","n_sheets":5,"sheets":["E.1 招标工程量清单封面","E.18 分部分项工程项目清单与措施项目清单计价表","E.20 总价措施项目清单计费表","E.21 绿色施工安全防护措施项目费计价表（招投标）","E.23 其他项目清单与计价汇总表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"E.1 招标工程量清单封面","index":0,"n_rows":10,"n_cols":7,"rows_kept":10,"merged":[[0,0,0,1],[0,2,0,4],[0,5,0,6],[1,1,1,5],[2,0,2,6],[3,0,3,6],[4,1,4,2],[4,3,4,5],[5,1,5,2],[5,3,5,5],[6,1,6,2],[6,3,6,5],[7,1,7,2],[7,3,7,5],[8,1,8,2],[8,3,8,5],[9,0,9,6]],"flags":["formulas_cached_only"]}
[null,null,"E.1：招标工程量清单封面"]
[null,"340专用管线厂房拆除工程",{"$nulls":4},"工程"]
["招标工程量清单"]
[]
[null,"招  标  人：",null,"衡阳华菱钢管有限公司"]
[{"$nulls":3},"(单位盖章)"]
[null,"造价咨询人："]
[{"$nulls":3},"(单位盖章)"]
[{"$nulls":3},"  2025 年 2 月 11 日"]
["湖南省建设工程造价计价软件测评合格编号：2020JJ-01"]

{"sheet":"E.18 分部分项工程项目清单与措施项目清单计价表","index":1,"n_rows":44,"n_cols":11,"rows_kept":44,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,2],[2,3,2,6],[2,7,2,10],[3,0,5,0],[3,1,5,1],[3,2,5,3],[3,4,5,4],[3,5,5,5],[3,6,5,7],[3,8,3,10],[4,8,5,8],[4,9,5,9],[4,10,5,10],[6,2,6,3],[6,6,6,7],[7,2,7,3],[7,6,7,7],[8,2,8,3],[8,6,8,7],[9,2,9,3],[9,6,9,7],[10,0,10,8],[11,0,11,10],[12,0,12,2],[12,3,12,6],[12,7,12,10],[13,0,13,10],[14,0,14,10],[15,0,15,2],[15,3,15,6],[15,7,15,10],[16,0,18,0],[16,1,18,1],[16,2,18,3],[16,4,18,4],[16,5,18,5],[16,6,18,7],[16,8,16,10],[17,8,18,8],[17,9,18,9],[17,10,18,10],[19,2,19,3],[19,6,19,7],[20,2,20,3],[20,6,20,7],[21,2,21,3],[21,6,21,7],[22,2,22,3],[22,6,22,7],[23,2,23,3],[23,6,23,7],[24,2,24,3],[24,6,24,7],[25,0,25,8],[26,0,26,10],[27,0,27,2],[27,3,27,6],[27,7,27,10],[28,0,28,10],[29,0,29,10],[30,0,30,2],[30,3,30,6],[30,7,30,10],[31,0,33,0],[31,1,33,1],[31,2,33,3],[31,4,33,4],[31,5,33,5],[31,6,33,7],[31,8,31,10],[32,8,33,8],[32,9,33,9],[32,10,33,10],[34,2,34,3],[34,6,34,7],[35,2,35,3],[35,6,35,7],[36,2,36,3],[36,6,36,7],[37,2,37,3],[37,6,37,7],[38,2,38,3],[38,6,38,7],[39,2,39,3],[39,6,39,7],[40,0,40,8],[41,0,41,8],[42,0,42,10],[43,0,43,2],[43,3,43,6],[43,7,43,10]],"flags":["formulas_cached_only"]}
[]
["E.18：分部分项工程项目清单与措施项目清单计价表"]
["工程名称：340专用管线厂房拆除工程",null,null,"标段： ",{"$nulls":3},"第  1  页  共  3  页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价","其中：\n暂估价"]
[]
[null,null,"整个项目"]
["1","01B001","厂房拆除",null,"1.单层钢结构厂房，檐口标高约12.5米，拆除至地面±0.00位置。\n2、部分檩条和瓦进行保护性拆除，以便满足用于围挡和变压器房的制作。\n3、拆除的钢材、瓦、门窗等运至甲方公司内指定地点；废渣/废弃物外运出衡钢，弃土/渣场由乙方负责。\n4、厂房面积计算按轴线面积计。","m2",11520]
["2","01B002","小房子拆除",null,"1.单层砖混结构，轻钢屋面，层高3.6米\n2、破坏性拆除，拆至地面±0.00位置。\n3、拆除的钢材等运至甲方公司内指定地点；废渣/废弃物外运出衡钢，弃土/渣场由乙方负责。","m2",85]
["3","01B003","小房子拆除",null,"1、单层框架结构，约24.2m2层高为6.4米，约57.67m2层高为4.7米。\n2、破坏性拆除，拆至地面±0.00位置。\n3、拆除的钢材等运至甲方公司内指定地点；废渣/废弃物外运出衡钢，弃土/渣场由乙方负责。","m2",82]
["本页小计"]
["注：1.本表工程量清单项目综合的消耗量标准与E.19综合单价分析表综合的内容应相同；2.此表用于竣工结算时无暂估价栏。"]
[{"$nulls":7},"广联达科技股份有限公司"]
[]
["E.18：分部分项工程项目清单与措施项目清单计价表"]
["工程名称：340专用管线厂房拆除工程",null,null,"标段： ",{"$nulls":3},"第  2  页  共  3  页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价","其中：\n暂估价"]
[]
["4","01B004","围挡制安",null,"1.金属围挡制作安装。利用拆除的檩条（C型钢）和彩板瓦，围挡骨架利用C型钢，立柱按3米间距设置，设置横挡3根，立柱插入泥土中；围护封闭利用拆除的彩板瓦。","m",1060]
["5","010501001001","垫层",null,"1.混凝土种类:商品砼\n2.混凝土强度等级:C20\n3.模板及支撑制作、安装、拆除、堆放、运输及清理模内杂物、刷隔离剂等","m3",6]
["6","010507002001","地面及设备基础",null,"1.混凝土种类:商品砼\n2.混凝土强度等级:C25\n3.模板及支撑制作、安装、拆除、堆放、运输及清理模内杂物、刷隔离剂等","m3",15.17]
["7","010515001001","现浇构件钢筋",null,"1.钢筋种类、规格:综合\n2.钢筋甲方供应，不计入综合单价\n3.钢筋固定架不另计算","t",1.1]
["8","010401003001","实心砖墙",null,"1.砖品种、规格、强度等级:红砖\n2.墙体类型:240\n3.砂浆强度等级、配合比:水泥砂浆MU10; ","m3",3.8]
["9","011201001001","墙面一般抹灰",null,"1.面层厚度：20mm　　　　　 　\n2.砂浆配合比1：2","m2",40]
["本页小计"]
["注：1.本表工程量清单项目综合的消耗量标准与E.19综合单价分析表综合的内容应相同；2.此表用于竣工结算时无暂估价栏。"]
[{"$nulls":7},"广联达科技股份有限公司"]
[]
["E.18：分部分项工程项目清单与措施项目清单计价表"]
["工程名称：340专用管线厂房拆除工程",null,null,"标段： ",{"$nulls":3},"第  3  页  共  3  页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":8},"综合单价","合价","其中：\n暂估价"]
[]
["10","010516002001","预埋铁件",null,"1.钢材种类:按设计\n2.规格:按设计\n3.铁件尺寸:按设计\n4.钢材甲方供应，不计入综合单价","t",0.2]
["11","010603001001","钢柱/钢梁",null,"1.柱、梁类型:钢管、型材\n2.钢材品种、规格:\n3.螺栓种类:按设计\n4.钢材甲方供应，不计入综合单价","t",2]
["12","010606002001","钢檩条",null,"1.钢材品种、规格:镀锌C型钢\n2.构件类型:墙檩、屋面檩\n3.螺栓种类:按设计\n4.钢材甲方供应，不计入综合单价","t",1.5]
["13","010605001001","彩色钢板屋面瓦",null,"1.压型彩钢板厚度、规格、品牌:0.6mm厚角弛Ⅲ820压型钢板屋面板\n2.彩瓦利旧，不计入综合单价","m2",74]
["14","010605002001","彩色钢板墙面",null,"1.压型彩钢板厚度、规格、品牌:0.6mm厚角弛Ⅲ820压型钢板屋面板\n2.彩瓦利旧，不计入综合单价","m2",126]
[]
["本页小计"]
["合    计"]
["注：1.本表工程量清单项目综合的消耗量标准与E.19综合单价分析表综合的内容应相同；2.此表用于竣工结算时无暂估价栏。"]
[{"$nulls":7},"广联达科技股份有限公司"]

{"sheet":"E.20 总价措施项目清单计费表","index":2,"n_rows":28,"n_cols":12,"rows_kept":28,"merged":[[0,0,0,7],[0,8,0,11],[1,0,1,1],[1,2,1,7],[1,8,1,11],[2,0,2,4],[2,5,2,7],[2,8,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,8],[4,1,4,2],[4,3,4,5],[4,6,4,8],[5,1,5,2],[5,3,5,5],[5,6,5,8],[6,1,6,2],[6,3,6,5],[6,6,6,8],[7,1,7,2],[7,3,7,5],[7,6,7,8],[8,1,8,2],[8,3,8,5],[8,6,8,8],[9,1,9,2],[9,3,9,5],[9,6,9,8],[10,1,10,2],[10,3,10,5],[10,6,10,8],[11,1,11,2],[11,3,11,5],[11,6,11,8],[12,1,12,2],[12,3,12,5],[12,6,12,8],[13,1,13,2],[13,3,13,5],[13,6,13,8],[14,1,14,2],[14,3,14,5],[14,6,14,8],[15,1,15,2],[15,3,15,5],[15,6,15,8],[16,1,16,2],[16,3,16,5],[16,6,16,8],[17,1,17,2],[17,3,17,5],[17,6,17,8],[18,1,18,2],[18,3,18,5],[18,6,18,8],[19,1,19,2],[19,3,19,5],[19,6,19,8],[20,1,20,2],[20,3,20,5],[20,6,20,8],[21,1,21,2],[21,3,21,5],[21,6,21,8],[22,1,22,2],[22,3,22,5],[22,6,22,8],[23,1,23,2],[23,3,23,5],[23,6,23,8],[24,1,24,2],[24,3,24,5],[24,6,24,8],[25,0,25,9],[26,0,26,11],[27,0,27,1],[27,2,27,3],[27,5,27,6],[27,8,27,11]],"flags":["formulas_cached_only"]}
[]
[null,null,"E.20：总价措施项目清单计费表"]
["工程名称：340专用管线厂房拆除工程",{"$nulls":4},"标段： ",null,null,"第  1  页  共  1  页"]
["序号","项目编号",null,"项目名称",null,null,"计算基础",null,null,"费率(%)","金额(元) ","备注"]
[1,"011707005001",null,"冬雨季施工增加费",null,null,"附录D相关规定"]
{"$rows_empty":20}
["合    计"]
["注：按施工方案计算的措施费，若无“计算基础”和“费率”的数值，也可只填“金额”数值，但应在备注栏说明施工方案出处或计算方法。"]
[{"$nulls":8},"广联达科技股份有限公司"]

{"sheet":"E.21 绿色施工安全防护措施项目费计价表（招投标）","index":3,"n_rows":32,"n_cols":11,"rows_kept":32,"merged":[[0,0,0,8],[0,9,0,10],[1,0,1,10],[2,0,2,3],[2,4,2,8],[2,9,2,10],[3,1,3,4],[3,6,3,7],[3,8,3,9],[4,1,4,4],[4,6,4,7],[4,8,4,9],[4,10,5,10],[5,1,5,4],[5,6,5,7],[5,8,5,9],[6,1,6,4],[6,6,6,7],[6,8,6,9],[7,1,7,4],[7,6,7,7],[7,8,7,9],[8,1,8,4],[8,6,8,7],[8,8,8,9],[9,1,9,4],[9,6,9,7],[9,8,9,9],[10,1,10,4],[10,6,10,7],[10,8,10,9],[11,1,11,4],[11,6,11,7],[11,8,11,9],[12,1,12,4],[12,6,12,7],[12,8,12,9],[13,1,13,4],[13,6,13,7],[13,8,13,9],[14,1,14,4],[14,6,14,7],[14,8,14,9],[15,1,15,4],[15,6,15,7],[15,8,15,9],[16,1,16,4],[16,6,16,7],[16,8,16,9],[17,1,17,4],[17,6,17,7],[17,8,17,9],[18,1,18,4],[18,6,18,7],[18,8,18,9],[19,1,19,4],[19,6,19,7],[19,8,19,9],[20,1,20,4],[20,6,20,7],[20,8,20,9],[21,1,21,4],[21,6,21,7],[21,8,21,9],[22,1,22,4],[22,6,22,7],[22,8,22,9],[23,1,23,4],[23,6,23,7],[23,8,23,9],[24,1,24,4],[24,6,24,7],[24,8,24,9],[25,1,25,4],[25,6,25,7],[25,8,25,9],[26,1,26,4],[26,6,26,7],[26,8,26,9],[27,1,27,4],[27,6,27,7],[27,8,27,9],[28,1,28,4],[28,6,28,7],[28,8,28,9],[29,1,29,4],[29,6,29,7],[29,8,29,9],[30,0,30,10],[31,0,31,1],[31,4,31,6],[31,7,31,10]],"flags":["formulas_cached_only"]}
[]
["E.21：绿色施工安全防护措施项目费计价表（招投标）"]
["工程名称：340专用管线厂房拆除工程",{"$nulls":3},"标段： ",{"$nulls":4},"第  1  页  共  1  页"]
["序号","工程内容",{"$nulls":3},"计算基数","费率(%)",null,"金额(元)",null,"备注"]
["一","绿色施工安全防护措施项目费",{"$nulls":3},"直接费",{"$nulls":4},"按附录C说明及表4相应总费率标准计算"]
["其中：","安全生产费",{"$nulls":3},"直接费"]
{"$rows_empty":24}
["注：安装工程取费基数按人工费，其他工程取费基数按直接费（不含其他管理费的计费基数。详附录C说明）计算。"]
[{"$nulls":7},"广联达科技股份有限公司"]

{"sheet":"E.23 其他项目清单与计价汇总表","index":4,"n_rows":31,"n_cols":9,"rows_kept":31,"merged":[[0,0,0,8],[1,0,1,8],[2,0,2,2],[2,3,2,4],[2,5,2,8],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,6],[29,0,29,8],[30,0,30,1],[30,3,30,4],[30,5,30,8]],"flags":["formulas_cached_only"]}
[]
["E.23：其他项目清单与计价汇总表"]
["工程名称：340专用管线厂房拆除工程",null,null,"标段： ",null,"第  1  页  共  1  页"]
["序号","项目名称",null,null,"计费基础/单价",null,"费率/数量","合计金额（元）","备注"]
["1","暂列金额",{"$nulls":5},"25000.00","明细详见E.24表"]
[2,"安全责任险、环境保护税",{"$nulls":6},"明细详见E.29表"]
{"$rows_empty":22}
["9","其他项目费合计",null,null,"1+2.2+2.3+3+4+5+6+7+8"]
["注：材料暂估单价进入清单项目综合单价，此处不汇总。"]
[{"$nulls":5},"广联达科技股份有限公司"]