{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":2,"n_cols":14,"rows_kept":2,"flags":["formulas_cached_only"]}
["序号","子项号","资材编号","资材名称","规格描述","技术参数","单位","数量","执行标准","申请部门","交货期","含税单价（元）","生产厂家","备注"]
[1,"A1253000410001",6700400307,"金相显微镜","X 3000倍","X3000倍；夹杂物自动评级；自动化的金相分析；扫描电镜数据拓展；夹具及批量检测功能；光电联用功能扩展；详见技术规格书","套",1,"SN/T 4752-2017","检验检测中心","2025-09-30",null,null,"推荐品牌：徕卡（Leica）、蔡司（Zeiss）、奥林巴斯（Olympus）"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}